## Slide 2: COVR-Award – DOROTHY – Milestone 2
Awardee: DARPAMotion Ltd, Budapest University of Technology and Economics
Award title: DOROTHY (Dual cobot system for safe motion therapy)
  M2 Delivery Date: M16 (16.08.2021)
  M2 Content (from Annex 1)
    The third objective is to develop a test method and apparatus for quantification of a selected RACA safety feature.
    The fourth objective is to measure, process and store the safety feature related data.
    D2.1 RACA standard conform test protocol for quantitative evaluation of a dominant safety feature based on the hazards and risks identified in D1.1 for which no appropriate testing protocol is available in the field. The deliverable will include a description of test method and apparatus
    D2.2 Electronic repository of measured data, including report specifying location/access to repository and description of (meta) data of stored safety feature-related data.

## Slide 3: DOROTHY test method and apparatus: dummy upper limb
Sitting posture limb size range between
  5 %ile female
  95 %ile male
Trunk enclosure can be set to
  size
  left-right side
Dummy limb can be set to
  size (replaceable green, and blue tubes)
  left-right side
7 DOFs

## Slide 4: DOROTHY Dummy limb #1
The elbow and the shoulder joints were also 3D printed
PVC drain tubes were cut to hand, lower arm, and upper arm lengths
Cosmetic hand to be added
Functional testing

## Slide 5: DOROTHY Dummy limb #2
Joint encoders and data processing card
Aluminium bushings
Rolling bearings
Cable routed inside
Adustable arm lengths
Zero offset and brake plugs
Left-right change buttons
Notes: 5

## Slide 6: „DOROTHY” COVR protocol
Joint limit risk:
  zone1: riskless
  zone2: take care (5-5% of the full range)
  zone3: prohibited
Notes: 6

## Slide 7: „DOROTHY” COVR protocol
Overreaching risk:
  If elbow is near 0 deg OR
  If wrist flex-ext is near 0 deg OR
  If wrist rad-uln dev is near 0 deg
Notes: 7

## Slide 8: Test Plan
Hand and elbow orthoses.
Notes: 8

## Slide 9: DOROTHY COVR Protocol: Numerical and Graphical Test Reports
Notes: 9

## Slide 10: Data visualisation by Jack™ software (video to compare between the movement of real test and visualisation software) (vi
Notes: 10